## units
CaseStudy | Reference | Scenario | Unit | Type | UnitName | ToUnitName | FromPort | Parameter
Carlsbad | NAWI | Baseline | sw_onshore_intake | intake | sw_onshore_intake | coag_and_floc | outlet | {"source_type": ["Seawater"]}
Carlsbad | NAWI | Baseline | coag_and_floc | treatment | coag_and_floc | ro_deep | outlet
Carlsbad | NAWI | Baseline | ro_deep | treatment | ro_deep | sulfuric_acid_addition | outlet
Carlsbad | NAWI | Baseline | sulfuric_acid_addition | treatment | sulfuric_acid_addition | treated_storage | outlet | {"chemical_name": ["Sulphuric_Acid_H2SO4"]}
Carlsbad | NAWI | Baseline | treated_storage | treatment | treated_storage | municipal_drinking | outlet | {"hours": 24}
Carlsbad | NAWI | Baseline | surface_discharge | waste | surface_discharge
Carlsbad | NAWI | Baseline | municipal_drinking | use | municipal_drinking
Carlsbad | NAWI | breal | sw_onshore_intake | intake | sw_onshore_intake | coag_and_floc | outlet | {"source_type": ["Seawater"]}
Carlsbad | NAWI | breal | coag_and_floc | treatment | coag_and_floc | tri_media_filtration | outlet
Carlsbad | NAWI | breal | tri_media_filtration | treatment | tri_media_filtration | sulfuric_acid_addition,backwash_solids_handling | outlet,waste
Carlsbad | NAWI | breal | chemical_addition | treatment | sulfuric_acid_addition | sodium_bisulfite_addition | outlet | {"chemical_name": "Sulphuric_Acid_H2SO4"}
Carlsbad | NAWI | breal | sodium_bisulfite_addition | treatment | sodium_bisulfite_addition | cartridge_filtration | outlet
Carlsbad | NAWI | breal | cartridge_filtration | treatment | cartridge_filtration | ro_deep | outlet
Carlsbad | NAWI | breal | ro_deep | treatment | ro_deep | ro_deep_scnd_pass | outlet | {"membrane": "X"}
Carlsbad | NAWI | breal | ro_deep_scnd_pass | treatment | ro_deep_scnd_pass | lime_softening | outlet | {"membrane": "X"}
Carlsbad | NAWI | breal | lime_softening | treatment | lime_softening | co2_addition | outlet
Carlsbad | NAWI | breal | co2_addition | treatment | co2_addition | chlorination_twb | outlet
Carlsbad | NAWI | breal | chlorination_twb | treatment | chlorination_twb | ammonia_addition | outlet
Carlsbad | NAWI | breal | ammonia_addition | treatment | ammonia_addition | treated_storage_24_hr | outlet
Carlsbad | NAWI | breal | treated_storage_24_hr | treatment | treated_storage_24_hr | municipal_drinking | outlet | {"hours": 24}
Carlsbad | NAWI | breal | municipal_drinking | use | municipal_drinking
Carlsbad | NAWI | breal | backwash_solids_handling | treatment | backwash_solids_handling | tri_media_filtration,landfill | outlet,waste
Carlsbad | NAWI | breal | surface_discharge | waste | surface_discharge
Carlsbad | NAWI | breal | landfill | waste | landfill
Carlsbad | NAWI | test1 | sw_onshore_intake | intake | sw_onshore_intake | municipal_drinking | outlet | {"source_type": ["Seawater", "Brackish"]}
Carlsbad | NAWI | test2 | sw_onshore_intake | intake | sw_onshore_intake | municipal_drinking | outlet | {"source_type": ["Seawater"]}
Carlsbad | NAWI | test2 | sw_onshore_intake | intake | sw_onshore_intake_2 | municipal_drinking | outlet | {"source_type": ["Seawater"]}
Carlsbad | NAWI | test1 | municipal_drinking | use | municipal_drinking
Carlsbad | NAWI | test2 | municipal_drinking | use | municipal_drinking
SantaBarbara | NAWI | Baseline | sw_onshore_intake | intake | sw_onshore_intake | fecl3_addition | outlet | {"source_type": ["Seawater"]}
SantaBarbara | NAWI | Baseline | fecl3_addition | treatment | fecl3_addition | chlorination_twb | outlet
SantaBarbara | NAWI | Baseline | chlorination_twb | treatment | chlorination_twb | static_mix_a | outlet
SantaBarbara | NAWI | Baseline | static_mix | treatment | static_mix_a | holding_tank_a | outlet
SantaBarbara | NAWI | Baseline | holding_tank | treatment | holding_tank_a | tri_media_filtration | outlet | {"hours": 1}
SantaBarbara | NAWI | Baseline | tri_media_filtration | treatment | tri_media_filtration | anti_scalant_addition,backwash_solids_handling | outlet,waste
SantaBarbara | NAWI | Baseline | backwash_solids_handling | treatment | backwash_solids_handling | tri_media_filtration,landfill | outlet,waste
SantaBarbara | NAWI | Baseline | anti_scalant_addition | treatment | anti_scalant_addition | cartridge_filtration | outlet
SantaBarbara | NAWI | Baseline | cartridge_filtration | treatment | cartridge_filtration | ro_deep | outlet | {"membrane": "X"}
SantaBarbara | NAWI | Baseline | ro_deep | treatment | ro_deep | holding_tank_b | outlet
SantaBarbara | NAWI | Baseline | holding_tank | treatment | holding_tank_b | uv_aop | outlet
SantaBarbara | NAWI | Baseline | uv_aop | treatment | uv_aop | co2_addition | outlet
SantaBarbara | NAWI | Baseline | co2_addition | treatment | co2_addition | lime_softening | outlet
SantaBarbara | NAWI | Baseline | lime_softening | treatment | lime_softening | static_mix_b | outlet
SantaBarbara | NAWI | Baseline | static_mix | treatment | static_mix_b | treated_storage_24_hr | outlet
SantaBarbara | NAWI | Baseline | treated_storage_24_hr | treatment | treated_storage_24_hr | municipal_drinking | outlet
SantaBarbara | NAWI | Baseline | municipal_drinking | use | municipal_drinking
SantaBarbara | NAWI | Baseline | surface_discharge | waste | surface_discharge
SantaBarbara | NAWI | Baseline | landfill | waste | landfill
SantaBarbara | NAWI | Baseline | sw_onshore_intake | intake | sw_onshore_intake_2 | holding_tank_b | outlet | {"source_type": ["Seawater"]}
SantaBarbara | NAWI | Baseline | fecl3_addition | treatment | fecl3_addition_2 | chlorination_twb_2 | outlet
SantaBarbara | NAWI | Baseline | chlorination_twb | treatment | chlorination_twb_2 | static_mix_a_2 | outlet
SantaBarbara | NAWI | Baseline | static_mix | treatment | static_mix_a_2 | holding_tank_a_2 | outlet
SantaBarbara | NAWI | Baseline | holding_tank | treatment | holding_tank_a_2 | tri_media_filtration_2 | outlet | {"hours": 1}
SantaBarbara | NAWI | Baseline | tri_media_filtration | treatment | tri_media_filtration_2 | anti_scalant_addition_2,backwash_solids_handling_2 | outlet,waste
SantaBarbara | NAWI | Baseline | backwash_solids_handling | treatment | backwash_solids_handling_2 | tri_media_filtration_2,landfill | outlet,waste
SantaBarbara | NAWI | Baseline | anti_scalant_addition | treatment | anti_scalant_addition_2 | cartridge_filtration_2 | outlet
SantaBarbara | NAWI | Baseline | cartridge_filtration | treatment | cartridge_filtration_2 | ro_deep_2 | outlet | {"membrane": "X"}
SantaBarbara | NAWI | Baseline | ro_deep | treatment | ro_deep_2 | holding_tank_b | outlet
SantaBarbara | NAWI | Baseline | sw_onshore_intake | intake | sw_onshore_intake_3 | fecl3_addition_3 | outlet | {"source_type": ["Seawater"]}
SantaBarbara | NAWI | Baseline | fecl3_addition | treatment | fecl3_addition_3 | chlorination_twb_3 | outlet
SantaBarbara | NAWI | Baseline | chlorination_twb | treatment | chlorination_twb_3 | static_mix_a_3 | outlet
SantaBarbara | NAWI | Baseline | static_mix | treatment | static_mix_a_3 | holding_tank_a_3 | outlet
SantaBarbara | NAWI | Baseline | holding_tank | treatment | holding_tank_a_3 | tri_media_filtration_3 | outlet | {"hours": 1}
SantaBarbara | NAWI | Baseline | tri_media_filtration | treatment | tri_media_filtration_3 | anti_scalant_addition_3,backwash_solids_handling_3 | outlet,waste
SantaBarbara | NAWI | Baseline | backwash_solids_handling | treatment | backwash_solids_handling_3 | tri_media_filtration_3,landfill | outlet,waste
SantaBarbara | NAWI | Baseline | anti_scalant_addition | treatment | anti_scalant_addition_3 | cartridge_filtration_3 | outlet
SantaBarbara | NAWI | Baseline | cartridge_filtration | treatment | cartridge_filtration_3 | ro_deep_3 | outlet | {"membrane": "X"}
SantaBarbara | NAWI | Baseline | ro_deep | treatment | ro_deep_3 | holding_tank_b | outlet
Ashkelon | NAWI | Baseline | sw_onshore_intake | intake | sw_onshore_intake | sulfuric_acid_addition | outlet | {"source_type": ["Seawater"]}
Ashkelon | NAWI | Baseline | sulfuric_acid_addition | treatment | sulfuric_acid_addition | fecl3_addition | outlet
Ashkelon | NAWI | Baseline | fecl3_addition | treatment | fecl3_addition | chlorination_twb | outlet
Ashkelon | NAWI | Baseline | chlorination_twb | treatment | chlorination_twb | coagulant_addition | outlet
Ashkelon | NAWI | Baseline | coagulant_addition | treatment | coagulant_addition | static_mix | outlet
Ashkelon | NAWI | Baseline | static_mix | treatment | static_mix | tri_media_filtration | outlet
Ashkelon | NAWI | Baseline | tri_media_filtration | treatment | tri_media_filtration | ro_deep,backwash_solids_handling | outlet,waste
Ashkelon | NAWI | Baseline | ro_deep | treatment | ro_deep | lime_softening | outlet
Ashkelon | NAWI | Baseline | lime_softening | treatment | lime_softening | chlorination_twb_2 | outlet
Ashkelon | NAWI | Baseline | chlorination_twb | treatment | chlorination_twb_2 | caustic_soda_addition | outlet
Ashkelon | NAWI | Baseline | caustic_soda_addition | treatment | caustic_soda_addition | treated_storage_24_hr | outlet
Ashkelon | NAWI | Baseline | treated_storage_24_hr | treatment | treated_storage_24_hr | municipal_drinking | outlet | {"hours": 1}
Ashkelon | NAWI | Baseline | municipal_drinking | use | municipal_drinking
Ashkelon | NAWI | Baseline | backwash_solids_handling | treatment | backwash_solids_handling | tri_media_filtration | outlet
Ashkelon | NAWI | Baseline | surface_discharge | waste | surface_discharge
Tampa_Bay | NAWI | Baseline | sw_onshore_intake | intake | sw_onshore_intake | sulfuric_acid_addition | outlet | {"source_type": ["Seawater"]}
Tampa_Bay | NAWI | Baseline | sulfuric_acid_addition | treatment | sulfuric_acid_addition | fecl3_addition | outlet
Tampa_Bay | NAWI | Baseline | fecl3_addition | treatment | fecl3_addition | chlorination_twb | outlet
Tampa_Bay | NAWI | Baseline | chlorination_twb | treatment | chlorination_twb | coagulant_addition | outlet
Tampa_Bay | NAWI | Baseline | coagulant_addition | treatment | coagulant_addition | static_mix | outlet
Tampa_Bay | NAWI | Baseline | static_mix | treatment | static_mix | tri_media_filtration | outlet
Tampa_Bay | NAWI | Baseline | tri_media_filtration | treatment | tri_media_filtration | cartridge_filtration,backwash_solids_handling | outlet,waste
Tampa_Bay | NAWI | Baseline | cartridge_filtration | treatment | cartridge_filtration | ro_deep | outlet | {"membrane": "X"}
Tampa_Bay | NAWI | Baseline | ro_deep | treatment | ro_deep | ro_deep_scnd_pass | outlet | {"membrane": "X"}
Tampa_Bay | NAWI | Baseline | ro_deep_scnd_pass | treatment | ro_deep_scnd_pass | lime_softening | outlet
Tampa_Bay | NAWI | Baseline | lime_softening | treatment | lime_softening | chlorination_twb_2 | outlet
Tampa_Bay | NAWI | Baseline | chlorination_twb | treatment | chlorination_twb_2 | caustic_soda_addition | outlet
Tampa_Bay | NAWI | Baseline | caustic_soda_addition | treatment | caustic_soda_addition | ammonia_addition | outlet
Tampa_Bay | NAWI | Baseline | ammonia_addition | treatment | ammonia_addition | treated_storage_24_hr | outlet
Tampa_Bay | NAWI | Baseline | treated_storage_24_hr | treatment | treated_storage_24_hr | municipal_drinking | outlet | {"hours": 6}
Tampa_Bay | NAWI | Baseline | municipal_drinking | use | municipal_drinking
Tampa_Bay | NAWI | Baseline | backwash_solids_handling | treatment | backwash_solids_handling | tri_media_filtration,landfill | outlet,waste
Tampa_Bay | NAWI | Baseline | surface_discharge | waste | surface_discharge
Tampa_Bay | NAWI | Baseline | landfill | waste | landfill